vc/26-Aug-03

### Week 35 starting 25 Aug 03

### SM18 Operation SCHEDULE Meeting

Schedule for this week :

| BENCH | CURRENT MAGNET | STATUS Today | Forward look, & Next Magnet |
| --- | --- | --- | --- |
| TBA1 | 2020 | cold | Disconnect Wed 27th ? Bring in 2028 |
| TBA2 | 2017 | warm | Rapid connection & Tests |
| TBC1 | 3041 | warm | Disconnection & ….. Cluster blocked by SSS but still bring in 1031 |
| TBC2 | SSS1 | Warm | Mech. Mods. To prepare for SSS1 then, Connection of SSS1 |
| TBE1 | 2018 | cold | +cold tests + Str.Wire +warm up by 27th |
| TBE2 |  | Warm | 1019 removal & arrival of 3046 as soon as possible |
| TBF1 | 2025 proposed |  | Prepare For commissioning |
| TBF2 | 2025 after F1 commissioned |  | Prepare For commissioning |

- Test Coordinator this week(35):   Marco

- MTA Technician on call:  (16-3602) Giorgio

- Situation From Cryogenics:  J-P Lamboy or ACR Rep.

- Other General Issues

- Problems from Operation Last week (Stephane + Test Supervisor )

| Date | Problem | Type | Application/soft. | Action/advise |
| --- | --- | --- | --- | --- |
| Monday 18_M | AQA alert MITTS too high | MTM |  | OK from test coordinator. |
| Monday 18_A | MMP program not responding. Software blocked. | CO | MMP | TEMA restarted. |
| Monday 18_N | IAP@cold | CO | TEMA | Not Resolved |
| Monday 18_N | TBA2:Cryo OK loss during loadline | MTM |  | Restart the load line. |
| Monday 18_N | TBA2 : RRR+6.5 kA min energy Sun blocked. AFS server authentification fault.Reboot impossible. LF files lost | MTM | LF | Action :M.Bjork |
| Monday 18_N | TBC1 : Quench @1.5 kA : Sun MTA20 down AFS server authentification fault | CO |  | Action :M.Bjork |
| Monday 18_N | RRR: time in file does not correspond to the time of quench (3 hours of difference) |  |  |  |
| Tuesday 19_M | AQA alert MIITS too high (6.5 kA min energy) | MTM |  | OK from test coordinator. |
| Tuesday 19_M | TBC1 : quench at 1.5 kA .IDDCT data not present | CO | AQA | Data present but Problem with AQA. |
| Tuesday 19_M | Use of DVN_DAQ 2 during RRR can induce a crash. | CO |  | Do not use DVM DAQ 2 but DVM_DAQ |
| Tuesday 19_M | DVM DAQ not working. | CO |  | Repaired by Adrian. |
| Tuesday 19_N | Joint measurements: Transfer the data from the local sun. | MTM |  |  |
| Wednesday 20_A | Cryo OK lost during load line. BP too high 1500 mbar : Liquefactor cannot reduce pressure (BA7 was working) | ACR |  | ACR informed the liquefactor that the pressure is too high. |
| Wednesday 20_A | Magnet change in TBC1 but application HF , LF do not follow. | MTM/CO | HF,LF | Do we have to close the application before? |
| Wednesday 20_N | Joints measurement (TBC1) : Explain how to check the data and why it was not correctly done (Claude, Ram, Daniel) | MTM | DVM DAQ | P.Pugnat will explain again? |
| Wednesday 20_N | Main current leads disconnection: done by OP team because meca.team is not responding | MTM |  | Decision to be anticipated by the test coordinator? |
| Wednesday 20_N | Quench at 4.2 K: Quench in V clamp and MIITS close to upper limit. | MTM/CO | AQA | Test coordinator decision |
| Thursday 21_A | RRR (TBC1) : file not correct | CO | AQA | Solved by Adrian. |
| Thursday 21_N | Quench at 1.5 kA (all LF) only 2 quenches discharges. | MTM |  | One card not triggered? Y removed for these tests. |
| Friday 22_A | HF DAQ not armed during quench at 3 kA (min energy): AQA said faulty quench. | MTM |  |  |
| Friday 22_N | Tcoil problem (TBA1): short circuit or faulty coil | MTM |  | Changing the power supply? |
| Saturday 23_A | MM : shaft position (TBA1): rack still in PDI configuration. | MTM |  | OK by equip.support |