vc/2-Dec-03

### Week 49 starting 01 dec 03

### SM18 Operation SCHEDULE Meeting (Tuesdays)

Schedule for this week :

| BENCH | CURRENT MAGNET | STATUS Today(2/12/03) | Forward look, & Next Magnet |
| --- | --- | --- | --- |
| TBA1 | NOT Active |  |  |
| TBA2 | 3021 | Connection |  |
| TBC1 | 1029 | To remove | next ? |
| TBC2 | SSS04 | Warming up | Next sss |
| TBD2 | Use 3059 | FOR COMMISSIONING |  |
| TBE1 |  | NEEDS REPAIR |  |
| TBE2 | 3070 | Connection + pumpdown |  |
| TBF1 | 3065 | 4.4 k & Warm up | Disconnect & bring new |
| TBF2 | 1038 | Connection + |  |

In pipeline ?

Test Coordinator this week:  Marco B;  MTM  Tech. on call:  (16-3602) :

- Situation From Cryogenics:  J-P Lamboy or ACR Rep.

- Other General Issues

  - Hardware Recog. System implementation/use

  - Commissionind D Cluster

  - AOB

Bench Status ( Tues 2 dec at 1800 hrs)

SM18 LHC Magnet Test Facility

| TBA1 | _ | _ |  |
| --- | --- | --- | --- |

| TBA2 | MBAR3021 | Prep2.3 IAP @ warm LF | 1.9 K |
| --- | --- | --- | --- |

| TBB1 | _ | _ |  |
| --- | --- | --- | --- |

| TBB2 | _ | _ |  |
| --- | --- | --- | --- |

No records returned.

| TBC2 | SSS004 | PT12 Warm Up | Warming |
| --- | --- | --- | --- |

| TBD1 | _ | _ |  |
| --- | --- | --- | --- |

| TBD2 | _ | _ |  |
| --- | --- | --- | --- |

| TBE1 | - | Not Activated |  |
| --- | --- | --- | --- |

| TBE2 | MBBL3070 | Prep2.3 IAP @ warm LF | 300 K |
| --- | --- | --- | --- |

| TBF1 | MBAR3065 | PT12 Warm Up | 1.9 K |
| --- | --- | --- | --- |

| TBF2 | MBBR1038 | New Magnet arrived | 300 K |
| --- | --- | --- | --- |

Problems of Last week

| Date | Problem | Type | Application/ soft. | Action/advise |
| --- | --- | --- | --- | --- |
| Tuesday 25_A | TBC1: vapour appearing in the anticryostat after cleaning | MTM |  | Patrick called. Temperature checks. OK Excessive alcohol used during the cleaning . |
| Tuesday 25_N | TBC1: IAP @ cold : POTAIM, Qloc card amplitudes not adjustable. | MTM | IAP |  |
| Tuesday 25_N | TBC1: After slow PA sunMTA20 hung | AB-CO |  |  |
| Tuesday 25_N | TBC1: Provoked Quench all HF Server hung. | AB/CO |  | Shutdown of Sunmta19 and re-start. |
| Tuesday 25_N | TBC1: Training quench 1 No folder in MATEST for 1029 | MTM |  | Quench table stored in desktop of PC |
| Tuesday 25_N Wednesday 26_M Sunday 30_morning | TBC1: (3059) WP04 dielectric test step 4 not present TBE1 (2027) WP04, WP07 dielectric test step 15 not present | EST/ISS AT/ADM | MTF | Solved from Monday 2/12. |
| Wednesday 26_M | TBE1: IAP @warm not done. Magnet already disconnected. Two travellers for the magnet 2027? | MTM |  | Authorization of disconnection signed by OP team but no checks that IAP was performed (no signature). |
| Wednesday 26_M | TBE2: Warm up : LF DAQ showing MXI move error in crate 1 DAQ not getting armed. | MTM |  | Giorgio called. Reset then OK |
| Thursday 27_M | TBF2: SPA. Not able to arm HF, LF acquisition. | MTM |  |  |
| Thursday 27_M | TBF2: MM0 launched Still CPU error. | AB-CO |  |  |
| Thursday 27_M | TBC1: Machine cycle: read current is 0 in aperture 1, already present during MM0 but equipment support not informed. | MTM |  | Cable of current reading for SSS removed. OK for the load-line. Follow the procedure written in the grey folder MM. |
| Thursday 27_N | TBF2: Launching hfoff messages “MP , MF’ not found. AQA shows faulty quench. | MTM | AQA? |  |
| Thursday 27_N | TBF2: Training quench 8: HF not armed at the start. Abort. Restart TEMA, ramp down the current. | MTM |  |  |
| Thursday 27_N | TBC1: Full load line. MMP hung when launching the test. | AB/CO | MMP | TEMA closed and restart then OK. |
| Friday 28_A | TBF2: Cryo lost during training. | ACR |  |  |
| Friday 28_A | TBE2: Switch to Tcoil position not possible automatically. Done it manually but when T-coil on X2 was launched the signal “Recording Armed “did not appear. But T-coil reading was possible. | MTM |  |  |
| Friday 28_A | TBC1: reading of TT_821 erratic and wrong | MTM |  |  |
| Friday 28_N | TBF2: Faulty quench. Vgas and Vext lead | MTM |  | Bad contact on the VT connector. |
| Saturday 29_M | TBE2: MM positions in ap 1.Coils from sector 1 to 4 seem to be broken. | MTM |  | Giorgio called Connector at the rear of mobile rack not tied properly (from amplifier to fixed rack) |
| Saturday 29_M | TBE2: Provoked quench all HF (1.5 kA) Signal not found in AQA | MTM |  |  |
| Saturday 29_A | TBE2: hf-lf config files generated by HWREC are not correct | MTM | HWREC | Prepared again by Daniel and Giorgio. |
| Saturday 29_A | TBE2 (1032): TT-821 not giving good T at cold |  |  | Non conformity opened by Daniel. |
| Saturday 29_A Sunday 30_A | TBE2: Quench a01 not sent to storage. Same problem on TBC1, TBF1. | MTM |  | No space in the disks? |
| Saturday 29_N | TBE2: Full Load line. Some measurements not exported. Coil name invalid format | MTM |  | To be investigated. |
| Sunday 30_M | TBF1: SPA but interlock appears (cable for temperature) | MTM |  | Giorgio re-mount the support for the cable temperature reading. Then OK |
| Sunday 30_M | TBF1: MM position, coil of ap 1 missing. Cable between TRU and mobile rack should be repaired. | MTM |  |  |
| Sunday 30_A | TBC1: No data available for quench. Workstation crashed Message: No space left on for device. | AB-CO |  | Magnus Bjork : data will be saved on vol7. |
| Mon 01_M | TBC1: SSL at 4.4 K quench in Vclamp Level of Helium in bus bar 60%: OK | MTM |  |  |
| Mon 01_M | TBF1: Full load line. Problem with coupling between motor and shaft. | MTM |  |  |
| Mon 01_N | TBF1: DRQ at 50 A/s in theVbus ext. Level of Helium in bus bar 60%: OK | MTM |  |  |