Vc/23-Aug-04

### Week35 starting 23Aug  04

### SM18 Operation Meeting (Tuesdays)

Bench status  on Monday 23 aug04  ~15.50 hrs

| TBA1 | MBAL3199 | Prep 0 Scan Bench | 299.1 |
| --- | --- | --- | --- |
| TBA2 | MBBL3102 | PT 5.1 1.5 KA Quench LF | 1.9 |
| TBB1 | SSS018 | PT 3 QH Measure | 1.9 |
| TBB2 | MBAL3186 | PT 12 Warm Up | 210.8 |
| TBC1 | MBBL2104 | PT 12 Warm Up | 84.7 |
| TBC2 | MBBL1143 | Prep 5 Pumping + Cool Down | 296.3 |
| TBD1 | SSS044 | Anticryostat Alignment | 298.6 |
| TBD2 | SSS012 | ICS 5 Traveller Last | 298 |
| TBE1 | MBAL3201 | ICS 3 Traveller after warm test | 300.3 |
| TBE2 | MBBL3197 | Prep 5 Pumping + Cool Down | 36.8 |
| TBF1 | MBAL2057 | Prep 5 Pumping + Cool Down | 298.5 |
| TBF2 | MBBL2084 | PT 10 Min. NRJ 11850 A | 14.6 |

8/23/2004 3:51:21 PM    Temperature data are taken from TBSM18 site

Coordinator this week: Pierre; MTM support on call :  Salem(16-3602).

11 Magnets [ 9  dipoles( 2 with MM)+ 2 SSS]   Disconnected after tests last week ( Sat Midnight to Sat midnight)

- Situation From Cryogenics:  J-P Lamboy or ACR Rep.

- ( SSS work : New issues

  - Same Training Rules as for Dipoles from now on- 12 kA rule

CRYO PRIORITY SETTINGS & PAPER Sheet for OP Crew

Bench status  and tests for now( Monday 23 Aug/7at 15.55 hrs)  & next few days :  see Video Display

| Magnets under Test on 23-08 3:56:52 PM |
| --- |
| - | Bench | Magnet | Shafts | Start | Connect Time | Cooling Time | Cold Test Time | Warming Time | Disconnect Time | Last Test Desc | Time | I | Temp. | Total |
| 1 | TBA1 | MBAL3199 |  | 23-08 | 1 h. | - | - | - | - | ICS 2 Connect Magnet (ICS) | 23-08 (15 : 50) | 0 A. | 300 K | 1 hours |
| 2 | TBA2 | MBBL3102 |  | 19-08 | 30 h. | 72 h. | 6 h. | - | - | PT 5.1 1.5 KA Quench LF | 23-08 (14 : 00) | 1500 A. | 1.9 K | 108 hours |
| 3 | TBB1 | SSS018 |  | 17-08 | 81 h. | 45 h. | 24 h. | - | - | PT 3 QH Measure | 22-08 (17 : 14) | 0 A. | 1.9 K | 150 hours |
| 4 | TBB2 | MBAL3186 |  | 18-08 | 30 h. | 49 h. | 50 h. | 3 h. | - | PT 12 Warm Up | 23-08 (12 : 38) | 2 A. | Warming | 132 hours |
| 5 | TBC1 | MBBL2104 |  | 18-08 | 27 h. | 74 h. | 19 h. | 5 h. | - | PT 12 Warm Up | 23-08 (10 : 22) | 0 A. | Warming | 125 hours |
| 6 | TBC2 | MBBL1143 |  | 21-08 | 41 h. | -24 h. | 27 h. | - | - | Prep 5 Pumping + Cool Down | 23-08 (12 : 38) | 0 A. | Cooling | 44 hours |
| 7 | TBD1 | SSS044 |  | 18-08 | 118 h. | - | - | - | - | Anticryostat Alignment | 23-08 (13 : 09) | 0 A. | 300 K | 118 hours |
| 8 | TBD2 | SSS012 |  | 09-08 | 132 h. | 66 h. | 130 h. | 16 h. | 2 h. | ICS 5 Traveller Last | 23-08 (15 : 29) | 0 A. | 300 K | 346 hours |
| 9 | TBE1 | MBAL3201 |  | 23-08 | 8 h. | - | - | - | - | ICS 3 Traveller after warm test | 23-08 (15 : 35) | 0 A. | 300 K | 8 hours |
| 10 | TBE2 | MBBL3197 |  | 21-08 | 40 h. | 29 h. | - | - | - | Prep 5 Pumping + Cool Down | 22-08 (10 : 40) | 0 A. | Cooling | 69 hours |
| 11 | TBF1 | MBAL2057 |  | 22-08 | 30 h. | -17 h. | 20 h. | - | - | Prep 5 Pumping + Cool Down | 23-08 (12 : 37) | 0 A. | Cooling | 33 hours |
| 12 | TBF2 | MBBL2084 |  | 19-08 | 39 h. | 45 h. | 20 h. | 3 h. | - | PT 10 Min. NRJ 11850 A | 23-08 (12 : 46) | 11849 A. | 1.9 K | 107 hours |

Quench Information

| - | Magnet | Q1 | Q2 | Q3 | Q4 | Q5 | Q6 | Q7 | Q8 | Q9 | Q10 | Q11 | Q12 | Q13 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | MBAL3199 |  | - | - | - | - | - | - | - | - | - | - | - | - |
| 2 | MBBL3102 |  | - | - | - | - | - | - | - | - | - | - | - | - |
| 3 | SSS018 |  | - | - | - | - | - | - | - | - | - | - | - | - |
| 4 | MBAL3186 | 12327 Amp. (D1-U) | 12468 Amp. (D1_U) |  | - | - | - | - | - | - | - | - | - | - |
| 5 | MBBL2104 | 11442 Amp. (D1-L) | 12642 Amp. (D2-U) |  | - | - | - | - | - | - | - | - | - | - |
| 6 | MBBL1143 |  | - | - | - | - | - | - | - | - | - | - | - | - |
| 7 | SSS044 |  | - | - | - | - | - | - | - | - | - | - | - | - |
| 8 | SSS012 | 11592 Amp. (QI-34) | 12371 Amp. (QE-34) | 12552 Amp. (QI-12) | 12626 Amp. (QE-12) | 12762 Amp. (QE-12) | 12851 Amp. (No Data) | 12851 Amp. () | - | - | - | - | - | - |
| 9 | MBAL3201 |  | - | - | - | - | - | - | - | - | - | - | - | - |
| 10 | MBBL3197 |  | - | - | - | - | - | - | - | - | - | - | - | - |
| 11 | MBAL2057 |  | - | - | - | - | - | - | - | - | - | - | - | - |
| 12 | MBBL2084 | 11922 Amp. (D2-U) | 12687 Amp. (D2-L) |  | - | - | - | - | - | - | - | - | - | - |

# Results by Week for PREVIOUS week

| Magnets under Test from 15-08-2004 to 21-08-2004 |
| --- |
| - | Bench | Magnet | Shafts | Start Date . | Connect Time | Cooling Time | Cold Test Time | Warming Time | Disconnect Time | End Date | Total |  |  |
| 1 | TBA1 | MBBL3192 |  | 11-08-2004 | 45 h. | 31 h. | 16 h. | 30 h. | 2 h. | 16-08-2004 | 120 hours |  |  |
| 2 | TBA2 | MBBL1107 |  | 12-08-2004 | 43 h. | -29 h. | 114 h. | 22 h. | 11 h. | 19-08-2004 | 168 hours |  |  |
| 3 | TBB1 | SSS041 |  | 02-08-2004 | 132 h. | 32 h. | 95 h. | 17 h. | 73 h. | 17-08-2004 | 360 hours |  |  |
| 4 | TBB2 | MBBL1121 |  | 05-08-2004 | 48 h. | 130 h. | 51 h. | 49 h. | 2 h. | 17-08-2004 | 288 hours |  |  |
| 5 | TBC1 | MBAL3079 |  | 12-08-2004 | 32 h. | 62 h. | 13 h. | 17 h. | 6 h. | 18-08-2004 | 144 hours |  |  |
| 6 | TBC2 | MBBL2106 |  | 10-08-2004 | 43 h. | 36 h. | 9 h. | 14 h. | 8 h. | 15-08-2004 | 120 hours |  |  |
| 7 | TBC2 | MBBL3198 |  | 15-08-2004 | 20 h. | 81 h. | 20 h. | 19 h. | 6 h. | 21-08-2004 | 144 hours |  |  |
| 8 | TBD1 | SSS007 |  | 05-08-2004 | 177 h. | 19 h. | 97 h. | 26 h. | 1 h. | 18-08-2004 | 312 hours |  |  |
| 9 | TBE1 | MBBL2075 |  | 09-08-2004 | 21 h. | 30 h. | 79 h. | 40 h. | 6 h. | 17-08-2004 | 192 hours |  |  |
| 10 | TBE2 | MBBR1019 |  | 14-08-2004 | 33 h. | 61 h. | 30 h. | 15 h. | 8 h. | 20-08-2004 | 144 hours |  |  |
| 11 | TBF2 | MBBL1131 |  | 12-08-2004 | 23 h. | 100 h. | 14 h. | 17 h. | 7 h. | 18-08-2004 | 144 hours |  |  |

### Quench Information

| - | Magnet | Q1 | Q2 | Q3 | Q4 | Q5 | Q6 | Q7 | Q8 | Q9 | Q10 | Q11 | Q12 | Q13 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | MBBL3192 | 12497 A. (D2-U) | 12850 A. | - | - | - | - | - | - | - | - | - | - | - |
| 2 | MBBL1107 | 11679 A. (D1_U) | 12029 A. (D2-U) | 12346 A. (D1-L) |  | - | - | - | - | - | - | - | - | - |
| 3 | SSS041 | 12281 A. (QI-12) | 12610 A. (QE-12) | 12446 A. (QE_12) | 12850 A. (No Data) |  | - | - | - | - | - | - | - | - |
| 4 | MBBL1121 | 11955 A. (D1-U-S06) | 12193 A. (D1_U_S06) | 12592 A. (No Data) | 12539 A. (D1-U-S06) | 12720 A. (D2-L-S09) |  | - | - | - | - | - | - | - |
| 5 | MBAL3079 | 12832 A. (D2-U) | 12657.2 A. (D2-L) |  | - | - | - | - | - | - | - | - | - | - |
| 6 | MBBL2106 | 12139 A. (D2_L) | 12816 A. (D1_U) |  | - | - | - | - | - | - | - | - | - | - |
| 7 | MBBL3198 | 12636 A. (D1-L) | 12850 A. | - | - | - | - | - | - | - | - | - | - | - |
| 8 | SSS007 | 12429 A. (QI_12-34) | 12850 A. | - | - | - | - | - | - | - | - | - | - | - |
| 9 | MBBL2075 | 10852 A. (D1_U_S01) | 12290 A. (D2-L-S01) |  | - | - | - | - | - | - | - | - | - | - |
| 10 | MBBR1019 | 12483 A. (D2-U) | 12245 A. (D2_L) |  | - | - | - | - | - | - | - | - | - | - |
| 11 | MBBL1131 | 12026 A. (D1-L) | 12301 A. (D1-L-MRB) |  | - | - | - | - | - | - | - | - | - | - |

General Problems last week :

| Date | Bench | Problem | Type | Application/ soft | Action/advise |
| --- | --- | --- | --- | --- | --- |
| Tuesday_17_A | TBF2 | 1131 magnet: LQA setting not activated for the first training quench: quench location lost. | MTM |  |  |
| Tuesday_17_N | TBD2 | SSS012: the powering of corrector EF could not be done. Power converter goes off when TEMA started. Worked without TEMA then with TEMA again. | AB/CO | TEMA? | Maryline investigated the problem but origin not found. |
| Thursday _19_A | TBF1 | HV test : problem with 1 rack (92): some relays are not activated | MTM |  | Rack changed. OK Richard will have a look Monday 24. |
| Thursday _19_A | TBC2 | Hf DAQ: trigger not received. | AB-CO |  | Adrian called and changed a damaged card. |
| Thursday _19_A | TBF1 | 3136 magnet: 1.5 kA quench : no quench location. The cable of Qloc antenna was connected instead of that of long shaft. | MTM |  |  |
| Thursday _19_N | TBD2 | SSW at cold on SSS12: strength measurements. Offset and transfer function wrong. | MTM |  | DB File corrupted. DB file replaced by Nicolay. |
| Thursday _19_N Sunday _22_A | TBB1 | Anti-cryostat alarm before cooling down the magnet. T above 40 C. The control rack of the anticrysotat did not received signal to warm when the coo-down starts | MTM |  | P.Legrand is investigating. Marlyne called and started locally the warming cycle of anticrysotats. |
| Friday_20_M | TBE1 | PLCSE not OK: QHeater interlock | MTM |  |  |
| Friday_20_N-Saturday_21_N | TBB2 | Take a long time to cool magnet from 4.2 K to 1.9 K. Origin to be investigated. Y-line not connected? | ICS? |  | Cryo piquet: inform Test ccordinator. Try to complete the test . |
| Sunday_22_M Sunday_22_A | TBD2 | SSW at cold : Wire broke 2 times during rot wire measurements. | MTM |  | In that case : repeat XY measurements and rot wire. It is not needed to repeat the survey. |
| Friday_20_M Sunday _22_M | TBD2 | SPA at 5000 A after 5 minutes . Happened two time at 11850 A and 5000 A | AB-CO |  |  |
| Saturday _21_A | TBA1 | 2105 magnet :Diode test at 3 kA: Red alarm : I earth crossing 5 mA | MTM |  | Test coordinator informed: Check the signals and asks for MinNRJ at 4.5 KA. Then OK. |
| Sunday _22_A | TBB1 | Unable to launch hf and lf applications from control room | AB-CO | hf, lf | Maryline called. She explained that hf and lf application have to be start locally for this bench because of a new version of DAQ (last Tuesday meeting). Alessandro will complete the installation as soon as possible. |
| Saturday _21_A | TBD1 | IAP @ warm: faulty files generated because DAQ was not put off during changing rotary switch position | MTM |  |  |