| hours | Connect | Cooling | Cold Test | Warming | Disconnect |
| --- | --- | --- | --- | --- | --- |
|  | Time | Time | Time | Time | Time |
| AVERAGE | 29 | 22 | 26 | 13 | 15 |
| sigma | 8 | 4 | 8 | 2 | 5 |

.E.Veyrunes

### Week 49 starting 03 Dec 05

### SM18 Operation Meeting (Tuesdays)

Bench status  on Monday  05 December 05

Coordinator this week: M.Bajko; F.Chiusano support 16-3602

13 complete Magnet Tests cycles

9 dipoles (no MM )+ 4 SSS (without MM & SSW )

Disconnected or ROBTC after tests last week ( Sat Midnight to Sat midnight)

- Situation from Cryogenics:  J-P Lamboy or ACR Rep.

- Situation from Mechanics:  J.Halik (SSS, SSSS).

General Points :

- CFB on TBA1: HV problem (Richard)

- MB_1286 (Short_circuit inter-spire): investigation results

- Special SSS605 (status, comments about MM)

- MB2202_special tests, MB3370_HP tests, 2259_HP tests.

| Date | Bench | Problem | Type | Application/ soft | Action/advise |
| --- | --- | --- | --- | --- | --- |
| Tuesday_29_N | TBD1 | SSS083: Problem with CQR in CQW2 for MQT corrector voltage. The voltage is correct (1.56 V) but not recognized by the program which put it "BAD". This gives a N.C in CQW2. | MTM |  | OP team will correct the template with A.Stafiniak.. |
| Wednesday_30_M | TBC2 | MBBR2239 AQA alerts are present: Voltage, Noise and Jump exceeded the limits | MTM | AQA | Equipment Support and Test coordinator has been called. According Vittorio and Pierre this magnet has short circuit. The magnet has been put in Stand By |
| Wednesday_30_M | TBA1 | Problem faced in CDW1 HV test. Rack used MY93. Current value exceeded maximum specified. Run recovery tried without success. Rack changed to MY92 and test was rerun. Problem persisted. | MTM |  | Richard was contacted. After investigation, I have asked ICS to disconnect this magnet from the bench with high priority. We will see if the problem remains. HV problem is originating from the CFB side. Investigation is on progress by Richard Back on operation Thursday and connect MB1266. Maintenance of the switch imperative during the shut-down |
| Wednesday_30_A | TBE1 | HV test (CDAP) was generated but no file is there | IT | HV | Richard is informed. SM18 server was moved. Richard changed the server hosting the HV files: OK. |
| Wednesday_30_N | TBA2 | Tcoils values not correct coming from shaft 28 and 27. | MTM |  | Calibration parameters stored in MTF must be checked and also the raw voltage of T_coil |
| Thursday_01_M | TBB1 | A random trigger is present during IAP @ cold A/C compensation. | MTM |  | Connector P11 not properly plugged. The connector on the bench is not conform to fix it on the bench. Giorgio asked a change in the fixation. |
| Thursday_01_M | TBB1 | Butterfly screws to connect the orbit dipole correctors are missing. | MTM |  | Giorgio furnished the screws. |
| Thursday_01_A | TBA2 | Wrong values of multipoles for sector 0607 ap1 found during the load-line on MB3370. | MTM |  | Stephane asked Richard to check if it is coming from the coil c of this sector. Check of the TRU by Maryline. |
| Thursday_01_A | TBA2 | 3rd d training quench decided by Stephane for MB3370 because first quench in the straight part and no training effect for the second quench. Test master was not working so quench to be launched manually. Localisation lost because switch box not put in Qloc. | IT | TEMA | Stephane decided to remove the shafts for special tests with HP. |
| Friday_02_M | TBF2 | Cool down of the MB2202 blocked during the night because of SSW installation. | MTM |  | SSW can be installed during cool down. |
| Friday_02_M | TBA2 | SPA during special LHC cycle. Cryo OK was stable. | AB/PO? |  |  |
| Friday_02_A | TBE1 | MB1287: TT821 not working. | ACR? |  | NC opened in CDW1. |
| Friday_02_N | TBE1 | CERNHOMES.cern.ch is offline. Hence, unable to access G:\users\s\sm18. Thus, unable to generate HV report on bench TBB2 and TBE1. | IT? |  | IT support and equip.support contacted. Solved after 1 hour. See comments of A.Raimondo. |
| Friday_02_A | TBE1 | MBBL2239: Launched provoked quench @3kA. But unable to do AQA analysis (AQA MIITS and AQA quench detection). | AB/CO | AQA | Analysis performed in manual with hfoff. No lf data recorded so no analyses from AQA. |
| Friday_02_A | TBD1 | Axis measurements on SSS347. XY measurement gives bad results for Y axis (X axis OK) Tried 3 times with widely different results. | MTM |  | Measurements at warm no requested. No time to investigate before the cool down. |
| Saturday_03_A | TBD1 | SW13 repeated on SSS347. During tension re-adjustment the tension adjustment knob was rotating back. The wire was broken during tension adjustment. | MTM |  | Marco contacted. He advised to go ahead. Guy will look after this system. |
| Saturday_03_A | TBC2 | MB2239: Richard advised to conduct quench at 9kA. | MTM |  | Special investigation with provoked quench.. |
| Saturday_03_N | TBA1 | MB1266 : HV dipole vs ground fault during CDBP (HV@ cold before power tests) suspected. | MTM |  | Richard will investigate. Pierre advised to proceed with the tests but to check again after quench at 1.5 kA. Before CDAP, we have to disconnect the power cables (water cooled) before launching the final HV test to ensure that the magnet is good. |
| Saturday_03_N | TBF1 | SSW measurements (field direction) not working on MB2202. | MTM |  | Marco came Sunday and solved the problem. Measurements in Aperture 1 was correct. |
| Saturday_03_N | TBD2 | Full scan on aperture 1: SPA because of loss of cryo OK. Measurements at 1.250 mbar (minimal pressure) | ACR |  | Stephane advised to repeat all the cycle at 1350 mbar. |

# Text boxes

Training performance.

Long training

D1