Vc/7-Dec-04

### Week49 starting 06 dec 04

### SM18 Operation Meeting (Tuesdays)

Bench status  on Monday 6 Dec 04   12/6/2004 5:15:54

LHC SM18 Magnet Test Facility

| 10 | A1 | _ | _ | 294.5 |
| --- | --- | --- | --- | --- |
| 4 | A2 | MBBR3262 | Prep 5 Pumping + Cool Down | 242.8 |
| 2 | B1 | SSS603 | PT 6.1 Training 1 | 1.9 |
| 6 | B2 | MBBR3264 | PT 3 QH Measure | 1.9 HV |
| 1 | C1 | MBAL3178 | PT 13.2 Resist. Meas. | 294.6 |
| 11 | C2 | _ | _ | 295.2 |
| 5 | D1 | SSS048 | PT 8 Fast De-excitation | 1.9 |
| 9 | D2 | _ | _ | 295.2 |
| 12 | E1 | MBBL2114 | Finished Ready to go Final scan | 296.9 |
| 3 | E2 | MBAL2123 | EX1 Extra Test | 3.9 |
| 8 | F1 | _ | _ | 294.6 |
| 7 | F2 | MBAL2054 | Prep 5 Pumping + Cool Down | 268.2 |

Temperature data are taken from TBSM18 site

Coordinator this week: JMiles; MTM support on call :   16-3602 .

13 named  Magnets Tested or 13 Magnet  tests  cycles

12 dipoles( 2 with MM)+ 1 SSS( 1 with MM ) +  0  SSSS     Disconnected after tests last week ( Sat Midnight to Sat midnight)

- Situation From Cryogenics:  J-P Lamboy or ACR Rep.

- AOB

## Tests

| Magnets under Test from 28-11-2004 to 04-12-2004 |
| --- |
| - | Bench | Magnet | Shafts | Start Date . | Connect Time | Cooling Time | Cold Test Time | Warming Time | Disconnect Time | End Date | Total |  |  |
| 1 | TBA1 | MBBR3017 |  | 25-11-2004 | 19 h. | 35 h. | 30 h. | 14 h. | 9 h. | 30-11-2004 | 120 hours |  |  |
| 2 | TBA2 | MBBL3238 |  | 28-11-2004 | 62 h. | 29 h. | 14 h. | 31 h. | 10 h. | 04-12-2004 | 144 hours |  |  |
| 3 | TBA2 | MBBR3260 |  | 22-11-2004 | 26 h. | 28 h. | 47 h. | 29 h. | 9 h. | 28-11-2004 | 144 hours |  |  |
| 4 | TBB2 | MBAL2120 |  | 29-11-2004 | 35 h. | 27 h. | 16 h. | 28 h. | 4 h. | 03-12-2004 | 96 hours |  |  |
| 5 | TBB2 | MBBL2110 |  | 24-11-2004 | 29 h. | 25 h. | 32 h. | 19 h. | 6 h. | 28-11-2004 | 96 hours |  |  |
| 6 | TBC1 | MBBR3239 |  | 27-11-2004 | 29 h. | 23 h. | 41 h. | 7 h. | 5 h. | 01-12-2004 | 96 hours |  |  |
| 7 | TBC2 | MBAL3231 |  | 24-11-2004 | 46 h. | 19 h. | 21 h. | 24 h. | 5 h. | 29-11-2004 | 120 hours |  |  |
| 8 | TBD1 | SSS030 |  | 24-11-2004 | 34 h. | 33 h. | 122 h. | 25 h. | 6 h. | 03-12-2004 | 216 hours |  |  |
| 9 | TBE1 | MBAL2122 |  | 26-11-2004 | 25 h. | 31 h. | 21 h. | 18 h. | 9 h. | 01-12-2004 | 120 hours |  |  |
| 10 | TBE2 | MBAL2124 |  | 02-12-2004 | 14 h. | - | - | - | - | 03-12-2004 | 24 hours |  |  |
| 11 | TBE2 | MBBL1170 |  | 27-11-2004 | 21 h. | 35 h. | 12 h. | 28 h. | 9 h. | 02-12-2004 | 120 hours |  |  |
| 12 | TBF1 | MBBL2118 |  | 26-11-2004 | 26 h. | 23 h. | 21 h. | 21 h. | 6 h. | 30-11-2004 | 96 hours |  |  |
| 13 | TBF2 | MBBL1169 |  | 23-11-2004 | 25 h. | 31 h. | 18 h. | 33 h. | 10 h. | 28-11-2004 | 120 hours |  |  |
| 14 | TBF2 | MBBR3240 |  | 28-11-2004 | 27 h. | 24 h. | 11 h. | 21 h. | 7 h. | 02-12-2004 | 96 hours |  |  |

| - | Magnet | Q1 | Q2 | Q3 | Q4 | Q5 | Q6 | Q7 | Q8 | Q9 | Q10 | Q11 | Q12 | Q13 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | MBBR3017 | 12546 A. (D1_L) | 12850 A. | - | - | - | - | - | - | - | - | - | - | - |
| 2 | MBBL3238 | 12374 A. (D2-U) | 12850 A. | - | - | - | - | - | - | - | - | - | - | - |
| 3 | MBBR3260 | 11414 A. (D1-U) | 12850 A. | - | - | - | - | - | - | - | - | - | - | - |
| 4 | MBAL2120 | 11562 A. (D1-L) | 12850 A. | - | - | - | - | - | - | - | - | - | - | - |
| 5 | MBBL2110 | 11449 A. (D1_U) | 11540 A. (D1_L) | 12634 A. (D1-L) | 12850 A. | - | - | - | - | - | - | - | - | - |
| 6 | MBBR3239 | 12394 A. (D1-L) | 12850 A. | 12850 A. | - | - | - | - | - | - | - | - | - | - | - |
| 7 | MBAL3231 | 12020 A. (D2_U) | 11984 A. (D1_L) | 12656.7 A. (D1-U) | 12850 A. | - | - | - | - | - | - | - | - | - |  |
| 8 | SSS030 | 12406 A. (QI_34) | 12851 A. (No Data) |  | - | - | - | - | - | - | - | - | - | - |  |
| 9 | MBAL2122 | 11940 A. (D1-L) | 12536 A. (D2-U) |  | - | - | - | - | - | - | - | - | - | - |  |
| 10 | MBAL2124 |  | - | - | - | - | - | - | - | - | - | - | - | - |  |
| 11 | MBBL1170 | 12553 A. (D1-U) | 12850 A. | - | - | - | - | - | - | - | - | - | - | - |  |
| 12 | MBBL2118 | 11588 A. (D1_U) | 12118 A. (D1_U) |  | - | - | - | - | - | - | - | - | - | - |  |
| 13 | MBBL1169 | 11916 A. (D1_L) | 12381 A. (D2-U) |  | - | - | - | - | - | - | - | - | - | - |  |
| 14 | MBBR3240 | 12850 A. (D1_L) | 12850 A. | - | - | - | - | - | - | - | - | - | - | - |  |
| From 28-11-2004 to 04-12-2004 |
| - | Bench | Magnet Name | shafts | Start Date . | Connect Time | Wait +Cooling | Cold Tests | Wait +Warming | Disconnect Time | End Date . | Total | Q |
| 1 | TBF2 | MBBL1169 | False | 23-11-2004 | 25 h. | 31 h. | 18 h. | 33 h. | 10 h. | 28-11-2004 | 5 days | 2 |
| 2 | TBF2 | MBBR3240 | False | 28-11-2004 | 27 h. | 24 h. | 11 h. | 21 h. | 7 h. | 02-12-2004 | 4 days | 1 |
| 3 | TBF1 | MBBL2118 | False | 26-11-2004 | 26 h. | 23 h. | 21 h. | 21 h. | 6 h. | 30-11-2004 | 4 days | 2 |
| 4 | TBE2 | MBAL2124 HV Problems | False | 02-12-2004 | 14 h. | 92 h. | -91 h. | 4 h. | 0 h. | 03-12-2004 | 1 days | 0 |
| 5 | TBE2 | MBBL1170 | False | 27-11-2004 | 21 h. | 35 h. | 12 h. | 28 h. | 9 h. | 02-12-2004 | 5 days | 1 |
| 6 | TBE1 | MBAL2122 | False | 26-11-2004 | 25 h. | 31 h. | 21 h. | 18 h. | 9 h. | 01-12-2004 | 5 days | 2 |
| 7 | TBD1 | SSS030 | True | 24-11-2004 | 34 h. | 33 h. | 122 h. | 25 h. | 6 h. | 03-12-2004 | 9 days | 2 |
| 8 | TBC2 | MBAL3231 | False | 24-11-2004 | 46 h. | 19 h. | 21 h. | 24 h. | 5 h. | 29-11-2004 | 5 days | 3 |
| 9 | TBC1 | MBBR3239 | True | 27-11-2004 | 29 h. | 23 h. | 41 h. | 7 h. | 5 h. | 01-12-2004 | 4 days | 1 |
| 10 | TBB2 | MBAL2120 | False | 29-11-2004 | 35 h. | 27 h. | 16 h. | 28 h. | 4 h. | 03-12-2004 | 4 days | 1 |
| 11 | TBB2 | MBBL2110 | False | 24-11-2004 | 29 h. | 25 h. | 32 h. | 19 h. | 6 h. | 28-11-2004 | 4 days | 3 |
| 12 | TBA2 | MBBL3238 | False | 28-11-2004 | 62 h. | 29 h. | 14 h. | 31 h. | 10 h. | 04-12-2004 | 6 days | 1 |
| 13 | TBA2 | MBBR3260 | False | 22-11-2004 | 26 h. | 28 h. | 47 h. | 29 h. | 9 h. | 28-11-2004 | 6 days | 1 |
| 14 | TBA1 | MBBR3017 | True | 25-11-2004 | 19 h. | 35 h. | 30 h. | 14 h. | 9 h. | 30-11-2004 | 5 days | 1 |

from 27-11-2004 to 04-12-2004

Problems from LAST week

| Date | Bench | Problem | Type | Application/ soft | Action/advise |
| --- | --- | --- | --- | --- | --- |
| Wednesday _01_M | TBD1 | After a provoked quench at 6500 A , no current reading. Cable for current reading disconnected (why?). | MTM |  | Cable for the current reading was re-connected. |
| Wednesday _01_A | TBB2 | Communication problem between TEMA and PC | MTM |  | Cable disconnected : solved by Giorgio. |
| Thursday _02_A | TBE2 | IAP at warm: HF discharge. Jump in the discharge of YT211. Resistance found higher than the others. | MTM |  | Giorgio and Pierre called. Current maybe flowing inside the cold mass: NC opened and magnet sent back. |
| Saturday _04_M | TBB2 | IAP at warm: HF discharge. Alarm in Tau Jump in the discharge of YT111. | MTM |  | Giorgio checked the results. He advised to continue with PT5.1 and PT5.2 |
| Saturday _04_M | TBC1 | Water interlock signal cannot be reset. The water flow have been cut off for all the other benches but the problem persists | MTM |  | Call the first line : he increased the water flow. Then OK. |
| Saturday _04_N | TBC1 | MXI problem using MMP application for MM1. | MTM | MMP | Giorgio came and solved the problem by changing one integrator card. |
| Sunday _05_M | TBC1 | LHC cycle done in Qloc position: | MTM |  | The cycle has to be repeated. |
| Monday _06_M | TBF2 | Leak (in the X-line?) for the 2054 magnet | ICS |  |  |