### Week 7 starting 20 Feb 06

### SM18 Operation Meeting (Tuesdays) 21 Feb 06

Bench status  on Monday  20-02- 2006 at: 2/20/2006 2:59:20 PM

| 2 | A1 | MBBL2111 | PT 7 Magnet Trained | 1.90 |
| --- | --- | --- | --- | --- |
| 12 | A2 | MBAL2130 | Prep 0 Scan Bench | 298.04 |
| 5 | B1 | SSS093 | PT 2 HV Cold Test | 1.91 |
| 1 | B2 | SSS059 | PT 6.4 Training 4 | 166.76 |
| 4 | C1 | SSS298 | PT 2 HV Cold Test | 2.35 |
| 11 | C2 |  |  | 298.04 |
| 10 | D1 | SSS608 | PT 14 Magnet MAPS | 298.76 |
| 9 | D2 | SSS507 | PT 13.2 Resist. Meas. | 298.67 |
| 6 | E1 | MBAL1085 | Prep 5 Cool Down | 1.92 |
| 7 | E2 | MBBL1166 | Prep 5 Cool Down | 290.44 |
| 8 | F1 | MBBR2258 | Prep 1 Lyre Test | 298.04 |
| 3 | F2 | MBAL2168 | MM3 Full Load Line | 249.19 |

Tempr. from TBSM18 site

Coordinator: Nikolay? : Eq support : 16-3602 : Maryline

16 Magnet Tests completed :  8 Dipoles (1 with MM)

7 Arc-SSS,    1 Sp-SSS 1st run only

General Points :

- Situation from Cryogenics:  J-P Lamboy or ACR Rep.

  - TTS followup by Halik Mech team

- Situation from (SSS, SSSS)  :  J.Halik

  - Why 608 not got changed last Friday ?( piece arrived late from central workshop for next magnet 610)

- Special SSSS :

Perf of  4K magnets, where do we go ?

Op Issues ? nominal & ultimate & TEMA

A.O.B.

| Magnets under Test from 12-02-2006 to 18-02-2006 |
| --- |
| - | Bench | Magnet | Shafts | + | Start Date | Connect Time | Cooling Time | Cold Test Time | Warming Time | Disconnect Time | End Date | Total | Signed for |  |  |
| 1 | TBA1 | MBAL1079 |  |  | 07-02-2006 | 31 h. | 24 h. | 31 h. | 18 h. | 20 h. | 13-02-2006 | 124 h. | Stripping |  |  |
| 2 | TBA1 | MBAL1095 |  |  | 13-02-2006 | 29 h. | 20 h. | 20 h. | 17 h. | 10 h. | 17-02-2006 | 96 h. | Stripping |  |  |
| 3 | TBA2 | MBBL1185 |  |  | 11-02-2006 | 30 h. | 29 h. | 19 h. | 20 h. | 16 h. | 16-02-2006 | 114 h. | Stripping |  |  |
| 4 | TBB1 | SSS169 |  |  | 08-02-2006 | 22 h. | 18 h. | 42 h. | 14 h. | 32 h. | 13-02-2006 | 128 h. | Stand By |  |  |
| 5 | TBB1 | SSS214 |  |  | 13-02-2006 | 60 h. | 18 h. | 21 h. | 10 h. | 9 h. | 18-02-2006 | 118 h. | Stripping |  |  |
| 6 | TBB2 | SSS146 |  |  | 09-02-2006 | 30 h. | 18 h. | 39 h. | 11 h. | 9 h. | 13-02-2006 | 107 h. | Stripping |  |  |
| 7 | TBB2 | SSS209 |  |  | 13-02-2006 | 40 h. | -11 h. | 43 h. | 9 h. | 13 h. | 17-02-2006 | 94 h. | Stripping |  |  |
| 8 | TBC1 | SSS063 |  |  | 12-02-2006 | 27 h. | 17 h. | 17 h. | 9 h. | 17 h. | 16-02-2006 | 87 h. | Stripping |  |  |
| 9 | TBC1 | SSS211 |  |  | 08-02-2006 | 19 h. | 18 h. | 32 h. | 8 h. | 9 h. | 12-02-2006 | 86 h. | Stripping |  |  |
| 10 | TBC2 | SSS038 |  |  | 14-02-2006 | - | - | - | - | - | 15-02-2006 | 0 h. | Not Found or Thermal cycle |  |  |
| 11 | TBC2 | SSS164 |  |  | 10-02-2006 | 34 h. | 18 h. | 20 h. | 8 h. | 14 h. | 14-02-2006 | 94 h. | Stripping |  |  |
| 12 | TBD1 | SSS608 |  |  | 03-02-2006 | 137 h. | 28 h. | 54 h. | 8 h. | 0 h. | 12-02-2006 | 227 h. | Not Found or Thermal cycle |  |  |
| 13 | TBE1 | MBAL1082 |  |  | 14-02-2006 | 31 h. | 25 h. | 18 h. | 18 h. | 13 h. | 18-02-2006 | 105 h. | Stripping |  |  |
| 14 | TBE1 | MBBR2258 |  |  | 11-02-2006 | - | - | - | - | - | 14-02-2006 | 59 h. | Not Found or Thermal cycle |  |  |
| 15 | TBE2 | MBBL1100 |  |  | 09-02-2006 | 22 h. | 23 h. | 70 h. | 15 h. | 16 h. | 15-02-2006 | 146 h. | Stripping |  |  |
| 16 | TBF1 | MBBL1183 |  |  | 06-02-2006 | 31 h. | 50 h. | 92 h. | 18 h. | 10 h. | 14-02-2006 | 201 h. | Stripping |  |  |
| 17 | TBF2 | MBAL1076 |  |  | 13-02-2006 | 25 h. | 20 h. | 19 h. | 17 h. | 15 h. | 17-02-2006 | 96 h. | Stripping |  |  |
| 18 | TBF2 | MBAL2211 |  |  | 30-01-2006 | 52 h. | 94 h. | 155 h. | 19 h. | 15 h. | 13-02-2006 | 335 h. | Stripping |  |  |

### Quench Information

| - | Magnet | Q1 | Q2 | Q3 | Q4 | Q5 | Q6 | Q7 | Q8 | Q9 | Q10 | Q11 | Q12 | Q13 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | MBAL1079 | 12193 A. (D2_L) | 12803.7 A. (D1_L) | 12850 A. | - | - | - | - | - | - | - | - | - | - |
| 2 | MBAL1095 | 11871 A. (D1_L) | 12071.2 A. (D1_L) | 12469.7 A. (D1_L) |  | - | - | - | - | - | - | - | - | - |
| 3 | MBBL1185 | 12679 A. (D2_U) | 12850 A. | - | - | - | - | - | - | - | - | - | - | - |
| 4 | SSS169 | 11522.4 A. (QE_12) | 11702.3 A. (QE_12) | 11994.7 A. (QE_12) | 12127 A. (QE_12) | 12667.2 A. (QE_12) | 12648.9 A. (QI_12) | 12835.9 A. (QI-12) | 12851 A. | - | - | - | - | - |
| 5 | SSS214 | 12399.8 A. (QE_34) | 12602.9 A. (QE-34) | 12653.1 A. (QI-34) |  | - | - | - | - | - | - | - | - | - |
| 6 | SSS146 | 11871.2 A. (QI_34) | 12015.4 A. (QI_34) |  | - | - | - | - | - | - | - | - | - | - |
| 7 | SSS209 | 11805 A. (QE_34) | 12852 A. | - | - | - | - | - | - | - | - | - | - | - |
| 8 | SSS063 | 10725 A. (QI_12) | 12274 A. (Q1_12) | 12414 A. (QI-34) |  | - | - | - | - | - | - | - | - | - |
| 9 | SSS211 | 11987.9 A. (Qe_34) | 12614.6 A. (QE-34) | 12850 A. | - | - | - | - | - | - | - | - | - | - |
| 10 | SSS038 |  | - | - | - | - | - | - | - | - | - | - | - | - |
| 11 | SSS164 | 12091.5 A. (QE-12) | 12404.9 A. (QE_34) | 12585 A. (QE_12) |  | - | - | - | - | - | - | - | - | - |
| 12 | SSS608 | 3283 A. (MI-2) | 3451 A. (MI-1) | 3494 A. (ME-1) | 3432.2 A. (M-E-I) | 3454.1 A. (M-E-2) | 3553.2 A. (M-E-1) | 3605.3 A. (MQ_E_1) | 3592.1 A. (MQ_I_1) | 3662.6 A. (MQ-I-2) | 3700.1 A. (MQ-I_2) |  | - | - |
| 13 | MBAL1082 | 11071 A. (D1_L) | 12249 A. (D2_U) | 12348.2 A. (D1-U) |  | - | - | - | - | - | - | - | - | - |
| 14 | MBBR2258 |  | - | - | - | - | - | - | - | - | - | - | - | - |
| 15 | MBBL1100 | 11717.5 A. (D1-L) | 11771.9 A. (D1 - L) | 12147 A. (D1-U) | 12382.1 A. (D2-L) | 12607.7 A. (D1-U) | 12804.1 A. (D1_U) | 12850 A. | 12850 A. | - | - | - | - | - | - |
| 16 | MBBL1183 | 12834.1 A. (D1-U) | 12850 A. | - | - | - | - | - | - | - | - | - | - | - |  |
| 17 | MBAL1076 | 12244.3 A. (D2_L) | 12256.2 A. (D1_U) | 12216.8 A. (D1_U) |  | - | - | - | - | - | - | - | - | - |  |
| 18 | MBAL2211 | 10292.7 A. (D1_L) | 11879.9 A. (D1-U) | 11880 A. (D1_L) | 12617.9 A. (D2_U) | 12850.2 A. (D2-U) | 12850 A. | - | - | - | - | - | - | - |  |

Problems on 2258 (HV fail at warm?) & S-038 (ICS could not connect…’de-stripping’ to bring back  not good enough )

& of course S-608 & long connect time (Mech team, pieces etc      +  2211 had MM

5 Tested  so far till 19 Feb 06 ( both MQM & MQY) ,

(a) 3 out of 5 had to have Thermal  Cycle ,  & all had  far too many quenches to train , only one

(b) 619 : ok on 1st run to reach ultimate  as shown above,

(c)  605 :  will come back ?  had 15 ramps !

(d) 606 : was down to 1.9K in 2nd run & up to 4.4 before training 2nd time; 15 ramps in run1 ;14 in run2

(e) 607 :  had 8 ramps in 1st run and had pressure change trials to see things improved ; In 2nd run got to ultimate